# FLOODPLAIN APPLICATION CHECKLIST

Applicant: 		   Project:

Parcel #:

Floodplain Zoning District (Floodfringe or Floodway): ___________________

*If unstudied, then H & H study required?__________ Permitted Use __________

Floodplain Zone AE with RFE = _______________	Floodplain Zone A with RFE = _________

Required Residential Elevations:

Lowest floor at or above FPE (2’): _________   Crawlspace/Basement floor at or above RFE (with conditions): _________

Driveway at or above RFE: _________

Fill around structure shall be one foot or more above RFE, extending 15’ of compacted fill: _________

Required							Date Completed

Engineered / architectural plans for floodproofing (crawlspace requires dry floodproofing to the flood protection elevation which is 2’ above the RFE): _________________________________

Make sure plans do NOT say: “NOT FOR CONSTRUCTION”

Existing elevations submitted by an engineer or surveyor:____________________________

Check Evacuation Maps, is road below RFE?   Y / N

If yes, see conditions in floodplain ordinance

Nonconforming Structures:

Equalized Assessed Value:	$			 	50% of Equalized Assessed Value:

Cost for materials & labor:	$_______________________	% Used (condition):

Nonconforming Residence:

If elevate structure but does not meet elevation standards, cost of materials & labor counts against 50%.

If elevate structure to meet elevation standards, cost of materials & labor for elevating doesn’t count against 50%, but if other items are fixed/replaced (ie.: subflooring, flooring, drywall...) these items count against 50%.

Crawlspace? Y / N	Existing Elevation: _________		Proposed crawlspace elevation:  _________

First floor existing Elevation: ________				Proposed first floor elevation:  _________

Proposed Fill?  Y /N

6.1(2)(a): 	decks >200 sq.ft. & adjacent to exterior wall of structure counts toward 50%.	Deck sq. ft.:

Floodplain Accessory Structures:		Accessory Structure floor at or above RFE: ________

Reference	Regulation

4.3(2)	Shall be constructed on fill with lowest floor at or above regional flood elevation.

Cost 					Sq. Ft.

Flood fringe of: ___________________ 		Elevation: ___________ feet 	NAVD  /  Local Datum

| FP-CRAWL | ________ feet (NAVD) or above shall be the elevation of the crawl space floor. |
| --- | --- |
| FP- lowest FL | ________ feet (NAVD) or above shall be the elevation of the lowest floor of the single family residence, including the floor of the attached garage. |
| FP-ACCSTR | ________ feet (NAVD) or above shall be the elevation of the accessory structure floor. |
| FP-HAZARD | ________ feet (NAVD) or above shall be the elevation of all service facilities, such as electrical and heating equipment, as well as the elevation at or above which all materials capable of floating, or that are flammable, explosive, or otherwise injurious to property, water quality, or human, animal, plant, fish or acquatic life, shall be stored. |
| FP-CONSTR | The structure(s) shall be placed/constructed per floodproofing measures submitted. Upon project completion, the applicant shall submit signed certification by a Registered Professional Engineer or Architect that said measures meet the requirements of Section 7.5, Floodplain Zoning Ordinance, and FEMA Technical Bulletin 10-01. |
| FP-FILL | ________ feet (NAVD) shall be the minimum elevation of the fill to be placed around the structure(s), said fill to extend at or above that elevation at least 15 feet around the structure(s), and meeting the standards within FEMA Technical Bulletin 10-01. Upon project completion, the applicant shall submit signed certification by a Registered Professional Engineer or Architect that the compacted fill meets the requirements of FEMA Technical Bulletin 10-01. |
| FP-DRIVEWAY | ________ feet (NAVD) or above shall be the elevation of the contiguous dry land access (driveway) required to be provided from the structure(s) to land outside the floodplain. The driveway shall be wide enough for rescue and relief vehicles. |
| FP-ROAD | The road from which this driveway takes access is below the regional flood elevation. Please review the Emergency Evacuation Plan information included with this permit for additional information and instructions. |
| FP-ELEV CERT | Upon project completion, the applicant shall submit signed certification by a Registered Professional Engineer or Registered Land Surveyor that all required elevations are in compliance with this permit. |
| FP-50% | This project constitutes ________ % of the equalized value of the structure. Up to 50% of the equalized value in additions and modifications is allowed over the lifetime of the structure. |

Other conditions: ______________________________________________________________________________________________________________

Initials: ___________	Date: __________________________